## 100M Ohm
| GUI 9334 | PN010017 | 63438 |  |  |  | Prediction Interval (95%) |  |  | ← PN010017 |  |  | GUI 9334 | PN010016 | 63433 |  |  |  | Prediction Interval (95%)
Date | Since Last Cal [Days] | Accumulated [Days] | Error [PPM] | Drifted [PPM] | Measured Value | MU (K =2) | Prediction | Lower | Upper | n | 25 | Date | Since Last Cal [Days] | Accumulated [Days] | Error [PPM] | Drifted [PPM] | Measured Value | MU (K =2) | Prediction | Lower | Upper
2012-03-13 | 0 | 0 | 13.5 |  | 100001350 | 9000 | 100002907.5731 | 99999157.0404 | 100006658.1059 | df | 23 | 2017-05-09 | 0 | 0 | 21.6 |  | 100002160 | 2600 | 100002137.6653 | 100001399.7919 | 100002875.5387
2012-10-09 | 210 | 210 | 32 | 18.5 | 100003200 | 9000 | 100002770.7734 | 99999052.9133 | 100006488.6335 | Mean of X | 2476.92 | 2017-12-27 | 232 | 232 | 25.4 | 3.8 | 100002540 | 2400 | 100002176.1486 | 100001454.5976 | 100002897.6996
2013-05-01 | 204 | 414 | 36.9 | 4.9 | 100003690 | 9000 | 100002637.8822 | 99998949.2335 | 100006326.531 | Syx | 1680.1741 | 2018-07-12 | 197 | 429 | 19.94 | -5.46 | 100001994 | 2400 | 100002208.8262 | 100001499.0338 | 100002918.6186
2013-11-14 | 197 | 611 | 76.9 | 40 | 100007690 | 6000 | 100002509.5511 | 99998846.6903 | 100006172.4119 | SSx | 49320015.84 | 2019-02-19 | 222 | 651 | 22.4 | 2.46 | 100002240 | 2400 | 100002245.6508 | 100001546.6673 | 100002944.6342
2014-06-30 | 228 | 839 | 51.2 | -25.7 | 100005120 | 6000 | 100002361.0257 | 99998724.9741 | 100005997.0773 |  |  | 2019-08-12 | 174 | 825 | 20.7 | -1.7 | 100002070 | 2400 | 100002274.5132 | 100001582.1171 | 100002966.9094
2015-01-05 | 189 | 1028 | -16.7 | -67.9 | 99998330 | 500 | 100002237.9059 | 99998621.5584 | 100005854.2534 | PN010016 → |  | 2020-01-03 | 144 | 969 | 25.9 | 5.2 | 100002590 | 2400 | 100002298.3994 | 100001610.1641 | 100002986.6347
2015-08-05 | 212 | 1240 | 11.7 | 28.4 | 100001170 | 500 | 100002099.8034 | 99998502.7907 | 100005696.816 | n | 13 | 2021-05-06 | 489 | 1458 | 25 | -0.9 | 100002500 | 2400 | 100002379.5129 | 100001696.4299 | 100003062.5959
2016-04-14 | 253 | 1493 | 15.3 | 3.6 | 100001530 | 500 | 100001934.9923 | 99998357.1614 | 100005512.8232 | df | 11 | 2021-12-20 | 228 | 1686 | 24 | -1 | 100002400 | 2400 | 100002417.3327 | 100001731.8554 | 100003102.81
2017-09-05 | 509 | 2002 | 6.7 | -8.6 | 100000670 | 430 | 100001603.4158 | 99998051.0937 | 100005155.738 | Mean of X | 1393.2308 | 2022-07-19 | 211 | 1897 | 18 | -6 | 100001800 | 2400 | 100002452.3326 | 100001761.9452 | 100003142.72
2018-03-29 | 205 | 2207 | 5.4 | -1.3 | 100000540 | 430 | 100001469.8732 | 99997922.8192 | 100005016.9272 | Syx | 299.0099 | 2023-02-11 | 207 | 2104 | 23 | 5 | 100002300 | 2400 | 100002486.669 | 100001789.0012 | 100003184.3368
2018-10-18 | 203 | 2410 | 7.3 | 1.9 | 100000730 | 430 | 100001337.6335 | 99997792.9412 | 100004882.3258 | SSx | 10775246.3077 | 2023-10-09 | 240 | 2344 | 24 | 1 | 100002400 | 2400 | 100002526.4793 | 100001817.4172 | 100003235.5414
2019-05-14 | 208 | 2618 | 6.25 | -1.05 | 100000625 | 2400 | 100001202.1366 | 99997656.9115 | 100004747.3618 |  |  | 2024-08-15 | 311 | 2655 | 29 | 5 | 100002900 | 2400 | 100002578.0668 | 100001849.7622 | 100003306.3714
2019-09-05 | 114 | 2732 | 8.55 | 2.3 | 100000855 | 2400 | 100001127.8739 | 99997581.089 | 100004674.6589 |  |  | 2025-03-10 | 207 | 2862 | 29 | 0 | 100002900 | 2400 | 100002612.4032 | 100001868.6646 | 100003356.1417
2019-10-04 | 29 | 2761 | 7.39 | -1.16 | 100000739 | 2400 | 100001108.9826 | 99997561.6577 | 100004656.3074 |  |  | 2025-12-17 | 282 | 3144 | 27 | -2 | 100002700 | 2400 | 100002659.1803 | 100001891.2995 | 100003427.0611
2019-10-16 | 12 | 2773 | 7.71 | 0.32 | 100000771 | 2400 | 100001101.1654 | 99997553.6002 | 100004648.7306
2020-05-20 | 217 | 2990 | 5 | -2.71 | 100000500 | 2400 | 100000959.8057 | 99997406.184 | 100004513.4275
2020-12-11 | 205 | 3195 | 5.52 | 0.52 | 100000552 | 2400 | 100000826.2631 | 99997263.9538 | 100004388.5725
2021-09-02 | 265 | 3460 | -6.12 | -11.64 | 99999388 | 2400 | 100000653.6349 | 99997075.8606 | 100004231.4093
2021-09-08 | 6 | 3466 | -5.99 | 0.13 | 99999401 | 2400 | 100000649.7264 | 99997071.547 | 100004227.9057
2022-04-08 | 212 | 3678 | 13 | 18.99 | 100001300 | 2400 | 100000511.6238 | 99996917.5874 | 100004105.6602
2022-11-03 | 209 | 3887 | 6 | -7 | 100000600 | 2400 | 100000375.4755 | 99996762.8905 | 100003988.0605
2023-06-20 | 229 | 4116 | 9 | 3 | 100000900 | 2400 | 100000226.2987 | 99996590.119 | 100003862.4783
2024-01-28 | 222 | 4338 | 7 | -2 | 100000700 | 2400 | 100000081.6818 | 99996419.4242 | 100003743.9394
2024-10-07 | 253 | 4591 | 11 | 4 | 100001100 | 2400 | 99999916.8707 | 99996221.1337 | 100003612.6078
2025-07-07 | 273 | 4864 | 9 | -2 | 100000900 | 2400 | 99999739.0311 | 99996002.7949 | 100003475.2673
2026-05-01 | 298 | 5162 | 7 | -2 | 100000700 | 2400 | 99999544.9058 | 99995759.448 | 100003330.3636
Note on F6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This data point observed to be outside the regression limits was measured years ago before the current analysis was implemented. Reply: @Siang-Yen Neng
Note on F8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This data point observed to be outside the regression limits was measured years ago before the current analysis was implemented. Reply: @Siang-Yen Neng