## 1G Ohm
| 9334A-1G | PN010048 | 68820 |  |  |  | Prediction Interval (95%) |  |  | ← PN010048 |  |  | 9334A-1G | PN010050 | 71145 |  |  |  | Prediction Interval (95%)
Date | Since Last Cal [Days] | Accumulated [Days] | Error [PPM] | Drifted [PPM] | Measured Value | MU (K =2) | Prediction | Lower | Upper | n | 17 | Date | Since Last Cal [Days] | Accumulated [Days] | Error [PPM] | Drifted [PPM] | Measured Value | MU (K =2) | Prediction | Lower | Upper
2012-08-06 | 0 | 0 | -36 |  | 999964000 | 290000 | 1000039508.3231 | 999718477.3277 | 1000360539.3186 | df | 15 | 2016-03-28 | 0 | 0 | 191.6 |  | 1000191600 | 193000 | 1000281527.7914 | 999998844.8124 | 1000564210.7705
2013-09-06 | 396 | 396 | -31 | 5 | 999969000 | 290000 | 1000026222.0995 | 999713560.7106 | 1000338883.4883 | Mean of X | 2649.7647 | 2017-09-05 | 526 | 526 | 490.8 | 299.2 | 1000490800 | 193000 | 1000205045.2558 | 999940085.6303 | 1000470004.8813
2014-11-05 | 425 | 821 | -15.5 | 15.5 | 999984500 | 193000 | 1000011962.8948 | 999706974.3329 | 1000316951.4566 | Syx | 132053.8031 | 2018-10-18 | 408 | 934 | 57 | -433.8 | 1000057000 | 193000 | 1000145720.3993 | 999892445.8045 | 1000398994.9941
2017-05-09 | 916 | 1737 | 40 | 55.5 | 1000040000 | 193000 | 999981230.1148 | 999687701.7345 | 1000274758.4951 | SSx | 29004967.0588 | 2019-08-12 | 298 | 1232 | 28 | -29 | 1000028000 | 99000 | 1000102389.9894 | 999856344.5714 | 1000348435.4073
2018-04-03 | 329 | 2066 | 37 | -3 | 1000037000 | 193000 | 999970191.8128 | 999678963.2072 | 1000261420.4183 |  |  | 2020-01-06 | 147 | 1379 | 35 | 7 | 1000035000 | 99000 | 1000081015.5925 | 999838094.6052 | 1000323936.5798
2019-05-09 | 401 | 2467 | -391 | -428 | 999609000 | 77000 | 999956737.8338 | 999666954.2271 | 1000246521.4405 | PN010050 → |  | 2020-12-11 | 340 | 1719 | -31 | -66 | 999969000 | 99000 | 1000031578.2121 | 999794687.6859 | 1000268468.7382
2019-05-20 | 11 | 2478 | 96 | 487 | 1000096000 | 77000 | 999956368.772 | 999666603.5448 | 1000246133.9992 | n | 13 | 2021-09-02 | 265 | 1984 | 21 | 52 | 1000021000 | 99000 | 999993046.1361 | 999759633.0711 | 1000226459.2011
2019-09-04 | 107 | 2585 | 42 | -54 | 1000042000 | 77000 | 999952778.8075 | 999663132.8862 | 1000242424.7289 | df | 11 | 2022-03-02 | 181 | 2165 | -31 | -52 | 999969000 | 77000 | 999966728.0012 | 999735045.7571 | 1000198410.2454
2019-10-04 | 30 | 2615 | 48 | 6 | 1000048000 | 77000 | 999951772.2754 | 999662140.4329 | 1000241404.118 | Mean of X | 1873.5385 | 2022-11-03 | 246 | 2411 | -78 | -47 | 999922000 | 77000 | 999930958.6024 | 999700766.0101 | 1000161151.1947
2019-10-16 | 12 | 2627 | 51 | 3 | 1000051000 | 77000 | 999951369.6626 | 999661741.0752 | 1000240998.25 | Syx | 100571.9608 | 2023-06-21 | 230 | 2641 | -90 | -12 | 999910000 | 77000 | 999897515.6686 | 999667801.5992 | 1000127229.738
2021-05-07 | 569 | 3196 | 59 | 8 | 1000059000 | 99000 | 999932279.1038 | 999641249.4346 | 1000223308.7731 | SSx | 12675651.2308 | 2024-01-28 | 221 | 2862 | -105 | -15 | 999895000 | 77000 | 999865381.3713 | 999635289.2627 | 1000095473.48
2022-03-02 | 299 | 3495 | -113 | -172 | 999887000 | 77000 | 999922247.3339 | 999629271.8204 | 1000215222.8475 |  |  | 2024-10-07 | 253 | 3115 | -158 | -53 | 999842000 | 77000 | 999828594.1441 | 999597066.7292 | 1000060121.559
2022-08-03 | 154 | 3649 | 19 | 132 | 1000019000 | 77000 | 999917080.4692 | 999622783.865 | 1000211377.0734 |  |  | 2025-07-07 | 273 | 3388 | -212 | -54 | 999788000 | 77000 | 999788898.8357 | 999554644.7439 | 1000023152.9274
2023-02-11 | 192 | 3841 | 13 | -6 | 1000013000 | 77000 | 999910638.6638 | 999614396.8336 | 1000206880.4939 |  |  | 2026-05-01 | 298 | 3686 | -84 | 128 | 999916000 | 77000 | 999745568.4258 | 999506991.2205 | 999984145.631
2023-10-09 | 240 | 4081 | -212 | -225 | 999788000 | 77000 | 999902586.407 | 999603457.1321 | 1000201715.6819
2024-08-16 | 312 | 4393 | -213.2 | -1.2 | 999786800 | 77000 | 999892118.4732 | 999588501.0149 | 1000195735.9315
2025-03-10 | 206 | 4599 | -233 | -19.8 | 999767000 | 77000 | 999885206.9528 | 999578187.1325 | 1000192226.7731
2025-12-17 | 282 | 4881 | -73 | 160 | 999927000 | 77000 | 999875745.5511 | 999563525.8288 | 1000187965.2734
Note on F8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This data point was observed to be outliner, repeated measurements have been taken by the calibration provider later same month to verify the accuracy of this data point. Reply: @Siang-Yen Neng