## 1M Ohm
| 742A-1M | PN010013 | 7565005 |  |  |  | Prediction Interval (95%) |  |  | ← PN010013 |  |  | 742A-1M | PN010012 | 7597003 |  |  |  | Prediction Interval (95%)
Date | Since Last Cal [Days] | Accumulated [Days] | Error [PPM] | Drifted [PPM] | Measured Value | MU (K =2) | Prediction | Lower | Upper | n | 13 | Date | Since Last Cal [Days] | Accumulated [Days] | Error [PPM] | Drifted [PPM] | Measured Value | MU (K =2) | Prediction | Lower | Upper
2017-05-09 | 0 | 0 | 4.6 |  | 1000004.6 | 1.8 | 1000004.5436 | 1000003.5543 | 1000005.5329 | df | 11 | 2013-02-13 | 0 | 0 | 2.8 |  | 1000002.8 | 2.8 | 1000002.59 | 1000000.2716 | 1000004.9084
2017-12-27 | 232 | 232 | 4.5 | -0.1 | 1000004.5 | 1.4 | 1000004.5556 | 1000003.5881 | 1000005.523 | Mean of X | 1392.5385 | 2013-09-06 | 205 | 205 | 2.8 | 0 | 1000002.8 | 2.6 | 1000002.7041 | 1000000.408 | 1000005.0003
2018-07-11 | 196 | 428 | 4.4 | -0.1 | 1000004.4 | 1.4 | 1000004.5657 | 1000003.6139 | 1000005.5174 | Syx | 0.40094 | 2014-04-09 | 215 | 420 | 1.8 | -1 | 1000001.8 | 1.66 | 1000002.8238 | 1000000.5489 | 1000005.0988
2019-02-19 | 223 | 651 | 4.8 | 0.4 | 1000004.8 | 1.4 | 1000004.5772 | 1000003.6399 | 1000005.5144 | SSx | 10777423.2308 | 2014-11-04 | 209 | 629 | 2.7 | 0.9 | 1000002.7 | 1.66 | 1000002.9402 | 1000000.6838 | 1000005.1966
2019-08-09 | 171 | 822 | 4.3 | -0.5 | 1000004.3 | 1.4 | 1000004.586 | 1000003.6574 | 1000005.5145 |  |  | 2015-06-08 | 216 | 845 | 3.3 | 0.6 | 1000003.3 | 1.66 | 1000003.0605 | 1000000.8209 | 1000005.3
2020-01-02 | 146 | 968 | 4.9 | 0.6 | 1000004.9 | 1.4 | 1000004.5935 | 1000003.6706 | 1000005.5164 | PN010012 → |  | 2016-01-12 | 218 | 1063 | 3.3 | 0 | 1000003.3 | 1.66 | 1000003.1819 | 1000000.9569 | 1000005.4068
2021-05-06 | 490 | 1458 | 5 | 0.1 | 1000005 | 1.4 | 1000004.6188 | 1000003.7028 | 1000005.5347 | n | 20 | 2016-11-02 | 295 | 1358 | 3.29 | -0.01 | 1000003.29 | 1.8 | 1000003.3461 | 1000001.1371 | 1000005.5551
2021-12-20 | 228 | 1686 | 3.6 | -1.4 | 1000003.6 | 1.4 | 1000004.6305 | 1000003.7113 | 1000005.5497 | df | 18 | 2017-09-05 | 307 | 1665 | 3.28 | -0.01 | 1000003.28 | 0.71 | 1000003.5171 | 1000001.3198 | 1000005.7143
2022-07-15 | 207 | 1893 | 4.8 | 1.2 | 1000004.8 | 1.4 | 1000004.6412 | 1000003.7156 | 1000005.5668 | Mean of X | 2224.35 | 2018-03-29 | 205 | 1870 | 3.6 | 0.32 | 1000003.6 | 0.71 | 1000003.6312 | 1000001.439 | 1000005.8234
2023-02-11 | 211 | 2104 | 5 | 0.2 | 1000005 | 1.4 | 1000004.6521 | 1000003.7165 | 1000005.5876 | Syx | 1.0167 | 2018-10-18 | 203 | 2073 | 4.8 | 1.2 | 1000004.8 | 0.71 | 1000003.7442 | 1000001.5548 | 1000005.9337
2023-10-09 | 240 | 2344 | 5 | 0 | 1000005 | 1.4 | 1000004.6644 | 1000003.7136 | 1000005.6152 | SSx | 38662708.55 | 2019-05-13 | 207 | 2280 | 4.1 | -0.7 | 1000004.1 | 1.4 | 1000003.8595 | 1000001.6705 | 1000006.0484
2024-08-15 | 311 | 2655 | 4.6 | -0.4 | 1000004.6 | 1.4 | 1000004.6805 | 1000003.7038 | 1000005.6571 |  |  | 2020-05-19 | 372 | 2652 | 4.2 | 0.1 | 1000004.2 | 1.4 | 1000004.0666 | 1000001.8728 | 1000006.2604
2025-03-10 | 207 | 2862 | 4.5 | -0.1 | 1000004.5 | 1.4 | 1000004.6911 | 1000003.6938 | 1000005.6885 |  |  | 2020-12-11 | 206 | 2858 | 4.1 | -0.1 | 1000004.1 | 1.4 | 1000004.1813 | 1000001.9817 | 1000006.381
2025-12-17 | 282 | 3144 | 4.4 | -0.1 | 1000004.4 | 1.4 | 1000004.7057 | 1000003.6759 | 1000005.7354 |  |  | 2021-09-02 | 265 | 3123 | 3.2 | -0.9 | 1000003.2 | 1.4 | 1000004.3289 | 1000002.1183 | 1000006.5394
[12 empty] | 2022-04-08 | 218 | 3341 | 4.3 | 1.1 | 1000004.3 | 1.4 | 1000004.4502 | 1000002.228 | 1000006.6725
[12 empty] | 2022-11-03 | 209 | 3550 | 4.2 | -0.1 | 1000004.2 | 1.4 | 1000004.5666 | 1000002.3309 | 1000006.8023
[12 empty] | 2023-06-20 | 229 | 3779 | 8.2 | 4 | 1000008.2 | 1.4 | 1000004.6941 | 1000002.4411 | 1000006.9472
[12 empty] | 2024-01-22 | 216 | 3995 | 4.7 | -3.5 | 1000004.7 | 1.4 | 1000004.8144 | 1000002.5426 | 1000007.0862
[12 empty] | 2024-10-07 | 259 | 4254 | 4 | -0.7 | 1000004 | 1.4 | 1000004.9586 | 1000002.6614 | 1000007.2558
[12 empty] | 2025-07-07 | 273 | 4527 | 3.9 | -0.1 | 1000003.9 | 1.4 | 1000005.1106 | 1000002.7832 | 1000007.438
[12 empty] | 2026-04-29 | 296 | 4823 | 4.2 | 0.3 | 1000004.2 | 1.4 | 1000005.2754 | 1000002.9115 | 1000007.6393
Note on T19: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: We will keep this ETE under observation to determine if it is a consistent pattern or a rare occurrence. Reply: @Siang-Yen Neng