## AC Divider Characterization
Category | AC Voltage Divider
Model | ET 100mV
Serial Number | PN030003
Equipment ID | 960007
Set ID | Set 1
Note: 6 frequency test points. Ratio is input/output. Uncertainty is in ppm.
Date (YYYY-MM-DD) | Ratio (1 kHz) | Uncert 1k (ppm) | Ratio (20 kHz) | Uncert 20k (ppm) | Ratio (100 kHz) | Uncert 100k (ppm) | Ratio (300 kHz) | Uncert 300k (ppm) | Ratio (500 kHz) | Uncert 500k (ppm) | Ratio (1 MHz) | Uncert 1M (ppm) | Cert Number | Reviewer Comment
2026-03-06 | 10.0004 | 23 | 10.0008 | 21 | 10.0003 | 21 | 9.9995 | 22 | 9.9982 | 26 | 9.9931 | 47 | WO-01257032 | Sample baseline with HP 3458A load